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Course Overview
DAY 1 and 2
ACCA Manual J® and S- Residential HVAC Design Class Overview
This class provides foundation for understanding heat transfer concepts and residential HVAC load calculations.  Review related code requirements, proper input data and application.  Proceed to specifics of Manual J calculations utilizing step by step examples of whole home and room by room calculations utilizing provided ACCA speed sheets.   
Review Manual S requirements for selection and sizing residential HVAC equipment utilizing Manual J results and manufacturer performance data.  Proceed to step-by-step examples.  Review ANSI approved form for submission to code authority.   

DAY 3:
ACCA Manual D® - Residential Duct System Design Class Overview
This session provides foundation for understanding air flow concepts and residential duct design calculations.  Proceed to specifics of Manual D calculations to design a duct system.  Participants will work through duct design utilizing provided ACCA speed sheets.
Pennsylvania Building Code requires ACCA Manual J, S and D compliant residential designs.
Students will be provided ACCA speed sheets in Excel format with registration confirmation email. Laptops are not required for this class.  
Manuals are not included with class registration.  The registration email will include a link and discount code for optional purchase of ACCA manuals by student. 
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